## Set Up
Volume in Well for 1 experiment | 50 | μL
Extra Protein Volume Required | 2.5 | μL
Final Protein Concentration | 10 | μM
Number of Replicates | 2
Reaction Buffer Description | 10 mM Tris, 100 mM NaCl, pH 8.0
Sample Info 1 | Sample Info 2 | Sample Info 3 | Conc. (μM) final protein in tube | Vol. (μL) final protein in tube (single) | Conc. (μM) initial protein stock | Vol. (μL) initial protein for tube (single) | Vol. (μL) reaction buffer for tube (single) | Vol. (μL) initial protein for tube (multiple) | Vol. (μL) reaction buffer for tube (multiple)
Known Control | Control Protein | dilute with reaction Buf. | 10 | 52.5 | 235 | 2.234 | 50.266 | 4.4681 | 100.5319
Unfolding Control 1 | Control Protein | dilute with high conc. Denat. | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Unfolding Control 2 | Other Protein | dilute with high conc. Denat. | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | Random #
1 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.016243
2 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.96913
3 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.29246
4 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.037609
5 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.51992
6 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.086542
7 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.62398
8 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.65009
9 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.83874
10 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.29882
11 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.4169
12 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.80277
13 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.16167
14 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.72374
15 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.30689
16 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.153
17 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.67053
18 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.61243
19 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.64581
20 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.41395
21 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.53821
22 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.041545
23 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.6836
24 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.85649
25 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.89257
26 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.28112
27 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.89201
28 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.32408
29 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.071358
30 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.57738
31 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.29116
32 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.029043
33 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.83388
34 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.69597
35 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.48104
36 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.75222
37 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.97077
38 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.7168
39 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.88577
40 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.9482
41 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.3587
42 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.35751
43 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.27505
44 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.70867
45 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.81015
46 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.31398
47 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.29903
48 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.57382
49 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.85797
50 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.94552
51 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.47675
52 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.84459
53 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.33994
54 |  |  | 10 | 52.5 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.88788
In top table, enter the volumes, concentrations, replicate number and reaction buffer details. In large table below, decide on number of samples you wish to run in column B (default 50, which is usually 25 duplicates) and modify the appropriate number of rows for table. Enter concentration of initial protein stocks in column G for each protein. Make up the individual protein solutions as indicated in columns H and I (single sample only) or columns J and K (replicates of each sample) which calculates just over the amount needed for single/multiple runs for that protein. Randomize the position of each sample by highlighting the yellow shaded area and sorting by column L. Pipette 50 μL of each protein solution into a quartz plate matching the sample name in column B with the name in the plate layout tab, to include the known control, unfolding controls and evaporation controls. Ensure the volumes of guanidine the plate reader injects from each pump is the same as the volumes/pumps in column L and M in the appropriate injection tab and that the vacuum is turned on. For the analysis, use the calibrated end denaturant concentration in column K in the appropriate injection tab. Hover mouse over the column headings below for more info.
Note on B4: This is the volume that is used for each experiment. Typically for our assay this is set to 50 μL.
Note on B5: This is the extra volume that is used for each experiment when preparing samples in tubes. This allows accurate pipetting from tube to well. Typically for our assay this is set to 2.5 μL.
Note on B6: This is the concentration of protein at the start of the experiment before injections begin. It must be made from a more concentrated initial protein stock solution.
Note on B7: This is the number of times a protein is independently measured in the plate. Positions are randomized to eliminate any bais in the different positions within the plate. Typically we run duplicates or triplicates.
Note on B8: This describes the reaction buffer conditions. The same buffer should be present in the denaturant solutions you prepare and used to measure the concentrations on the refractometer. Any buffer can be used although phosphate should be avoided if at all possible due to known interactions with guanidine.
Note on E12: This is the concentration of protein at the start of the experiment before injections begin. It must be made from a more concentrated initial protein stock solution.
Note on F12: This is the volume of protein in the tube. The volume is slightly higher than that necessary for the experiment to allow accurate pipetting from the tube to the well.
Note on G12: This is the concentration of the initial stock protein that has been prpeared for this experiment. It should be greater than 95% pure, filtered, degased and in reaction buffer. This value should be determined using absorbance measurments with their extinction coefficients and entered in these cells.
Note on H12: This is the volume of initial stock protein to add to the tube so that a single experiment can be performed.
Note on I12: This is the volume of reaction buffer to add to the tube so that a single experiment can be performed.
Note on J12: This is the volume of initial stock protein to add to the tube so that a multiple experiments can be performed as indicated in small table above.
Note on K12: This is the volume of reaction buffer to add to the tube so that a multiple experiments can be performed as indicated in small table above.
Note on B13: Include a related protein of known stability to act as an internal control.
Note on B14: Include a protein that starts and remains fully unfolded during the experiment that can be used to account for signal changes due to volume changes.
Note on B15: Include another protein that starts and remains fully unfolded during the experiment that can be used to account for signal changes due to volume changes.
Note on L15: This is a random number column that will allow the sample positions to be randomized in the plate by highlighting the yellow area and sorting by column L (Random #).

## Plate Layout
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer
B | Buffer | Known Control | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Unfolding Control | Buffer
C | Buffer | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | Buffer
D | Buffer | 19 | 20 | 21 | 22 | 23 | Unfolding Control | 24 | 25 | 26 | 27 | Buffer
E | Buffer | 28 | 29 | 30 | Unfolding Control | Known Control | 31 | 32 | 33 | 34 | 35 | Buffer
F | Buffer | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | Buffer
G | Buffer | Unfolding Control | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | Buffer
H | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer | Buffer
Unfolding Control | Known protein in high conc. denaturant |  | 40 49: Known Control; 41 50: 50 µL known control protein.
Unfolding Control | Known protein in high conc. denaturant |  | 41 50: All wells with this thick border should have volumes measured after experiment has run as an internal control.

## Inject from 0M to 4M
Global Evaporation Rate (µL/s) |  | Avg. initial vol. of internal evap. controls (µL) | Avg. final vol. of internal evap. controls (µL) | Vol. evaporated during expt. (µL) | Number of protocol for complete method | Number of injections per protocol | Total time of experiment (s) | Internal Evaporation Rate (µL/s) |  | Chosen Evaporation Rate (µL/s) |  | Refractive index of buffer | Refractive index of Guan. + buffer | Concentration of Guan. in buffer (M) | Refractive index of buffer | Refractive index of Urea + buffer | Concentration of Urea in buffer (M)
0.0020313 |  | 139 | 90 | 49 | 6 | 4 | 23760 | 0.0020623 |  | 0.0020313 |  | 1.337 | 1.421 | 5.019 |  |  | 0
[14 empty] | 0 |  |  | 0
| Conc. Denaturant (M) in Pump 1 |  | Conc. Denaturant (M) in Pump 2 |  |  | Time for each Protocol | Hour | Minute | Second | Time for Injection (s)
| 3 |  | 5.019 |  |  |  | 1 | 6 | 0 | 990
0-4.0 M Protocol for proteins that have a D50 around 2
Injection # | Initial sample vol (µL) | Cumulative vol. (µL) of denaturant injected | Cumulative total vol. (µL) in well | Denaturant conc. (M) with no evap. Correction | Injection vol. (µL) | Denaturant conc. (µM) step increase | Measurement time (s) | Cumulative total vol. (µL) in well with evap. correction | Denaturant conc. (M) with evap. correction | Pump to use | Pump injection speed
0 | 50 | 0 | 50 | 0 | 0
1 | 50 | 3 | 53 | 0.16981 | 3 | 0.16981 | 990 | 50.9891 | 0.17651 | Pump 1 | 430 µL/s
2 | 50 | 6 | 56 | 0.32143 | 3 | 0.15162 | 1980 | 51.9781 | 0.3463 | Pump 1 | 430 µL/s |  |  | Cells where most common
3 | 50 | 9 | 59 | 0.45763 | 3 | 0.1362 | 2970 | 52.9672 | 0.50975 | Pump 1 | 430 µL/s |  |  | variables should be entered
4 | 50 | 12 | 62 | 0.58065 | 3 | 0.12302 | 3960 | 53.9562 | 0.66721 | Pump 1 | 430 µL/s
5 | 50 | 15 | 65 | 0.69231 | 3 | 0.11166 | 4950 | 54.9453 | 0.819 | Pump 1 | 430 µL/s
6 | 50 | 18 | 68 | 0.79412 | 3 | 0.10181 | 5940 | 55.9344 | 0.96542 | Pump 1 | 430 µL/s
7 | 50 | 21 | 71 | 0.88732 | 3 | 0.093206 | 6930 | 56.9234 | 1.1067 | Pump 1 | 430 µL/s
8 | 50 | 24 | 74 | 0.97297 | 3 | 0.085649 | 7920 | 57.9125 | 1.2433 | Pump 1 | 430 µL/s
9 | 50 | 28 | 78 | 1.0769 | 4 | 0.10395 | 8910 | 59.9016 | 1.4023 | Pump 1 | 400 µL/s
10 | 50 | 32 | 82 | 1.1707 | 4 | 0.093809 | 9900 | 61.8906 | 1.5511 | Pump 1 | 400 µL/s
11 | 50 | 36 | 86 | 1.2558 | 4 | 0.085082 | 10890 | 63.8797 | 1.6907 | Pump 1 | 400 µL/s
12 | 50 | 41 | 91 | 1.3516 | 5 | 0.095834 | 11880 | 66.8688 | 1.8394 | Pump 1 | 350 µL/s
13 | 50 | 44 | 94 | 1.4687 | 3 | 0.11704 | 12870 | 67.8578 | 2.0345 | Pump 2 | 430 µL/s
14 | 50 | 47 | 97 | 1.5785 | 3 | 0.1098 | 13860 | 68.8469 | 2.224 | Pump 2 | 430 µL/s
15 | 50 | 50 | 100 | 1.6817 | 3 | 0.10322 | 14850 | 69.8359 | 2.4081 | Pump 2 | 430 µL/s
16 | 50 | 53 | 103 | 1.7789 | 3 | 0.097203 | 15840 | 70.825 | 2.5871 | Pump 2 | 430 µL/s
17 | 50 | 56 | 106 | 1.8706 | 3 | 0.091701 | 16830 | 71.8141 | 2.7611 | Pump 2 | 430 µL/s
18 | 50 | 59 | 109 | 1.9573 | 3 | 0.086653 | 17820 | 72.8031 | 2.9304 | Pump 2 | 430 µL/s
19 | 50 | 63 | 113 | 2.0656 | 4 | 0.10838 | 18810 | 74.7922 | 3.1209 | Pump 2 | 400 µL/s
20 | 50 | 67 | 117 | 2.1666 | 4 | 0.10097 | 19800 | 76.7812 | 3.3015 | Pump 2 | 400 µL/s
21 | 50 | 72 | 122 | 2.2835 | 5 | 0.1169 | 20790 | 79.7703 | 3.4924 | Pump 2 | 350 µL/s
22 | 50 | 77 | 127 | 2.3912 | 5 | 0.1077 | 21780 | 82.7594 | 3.6695 | Pump 2 | 350 µL/s
23 | 50 | 83 | 133 | 2.5098 | 6 | 0.11855 | 22770 | 86.7484 | 3.8479 | Pump 2 | 300 µL/s
24 | 50 | 89 | 139 | 2.6181 | 6 | 0.10831 | 23760 | 90.7375 | 4.0106 | Pump 2 | 300 µL/s
[5 empty] | Avg. step resolution | 0.10909
Note on B9: This is the injection number for the total method, typically a BMG plate readerallows a maximum of 4 injections per protoocl and 6 of these are run backto back to achieve 24 injections.
Note on C9: This is the initial volume of the sample protein that is pipetted in the well before injections begin. This is always 50 μL for our method. However, for the last tab in this template, we artificially include guanidine in the initial sample so that the initial concentration is greater than zero. Note the initial volume of the sample is still 50 μL and the extra guanidine is already added to the sample.
Note on D9: This is the total amount of denturant in the well at the end of the given injection step. This will be used to calculate the denaturant concentration at the end of the given injection step in Column F.
Note on E9: This is the total volume of all liquids in the well at the end of the given injection step. This will be used to calculate the denaturant concentration at the end of the given injection step in Column F.
Note on F9: This is the denaturant concentration at the end of the given injection step calculated using Columns D and E and does not take into account the loss of water from the well due to evaporation.
Note on G9: This is the injection volume from either pump 1 or pump and can be adjusted to change the increases in denaturant concentration through the whole method. Immediately after all wells receive their injections there is a 20 second shake and protein is left to equilibrate for about 15 minutes for our proteins.
Note on H9: This is the increase in denaturant concentration due to the current injection of denaturant at this step, we aim to have most resolution during the transition period of denturation, although are limited by the minimum volume of 3 µL and the concentrations of denaturant stock in the 2 pumps.
Note on I9: This is the time the fluorescence emission measurements are made after the given injection.
Note on J9: This is the total volume of all liquids in the well at the end of the given injection step that takes into account the loss of water from the well due to evaporation.
Note on K9: This is the denaturant concentration at the end of the given injection step calculated using Columns D, E and the chosen evaporation rate that takes into account the loss of water from the well due to evaporation.
Note on L9: This is the pump that currently injects sample. The concentrations of denaturant have been chosen to achieve good resolution through the unfolding and can be found in cells C6 and E6.
Note on M9: This is the pump injection speed and is designed to be faster for small volumes to maximize mixing in the well and slightly slower for large volumes to avoid splashing out of the well. A simple quick test into an empty disposable plate is recommended to check all volume/speed combinations deliver denaturant into the center of the well.
Note on G35: This is the average increase in denaturant concentration an injection of denaturant over all injections.

## Inject from 0M to 4.8M
Global Evaporation Rate (µL/s) |  | Avg. initial vol. of internal evap. controls (µL) | Avg. final vol. of internal evap. controls (µL) | Vol. evaporated during expt. (µL) | Number of protocol for complete method | Number of injections per protocol | Total time of experiment (s) | Internal Evaporation Rate (µL/s) |  | Chosen Evaporation Rate (µL/s) |  | Refractive index of buffer | Refractive index of Guan. + buffer | Concentration of Guan. in buffer (M) | Refractive index of buffer | Refractive index of Urea + buffer | Concentration of Urea in buffer (M)
0.0020313 |  | 161 | 105 | 56 | 7 | 4 | 27720 | 0.0020202 |  | 0.0020313 |  | 1.337 | 1.405 | 4.0361 |  |  | 0
[14 empty] | 0 |  |  | 0
| Conc. Denaturant (M) in Pump 1 |  | Conc. Denaturant (M) in Pump 2 |  |  | Time for each Protocol | Hour | Minute | Second | Time for Injection (s)
| 4.036 |  | 6 |  |  |  | 1 | 6 | 0 | 990
0-4.8 M Protocol for proteins that have a D50 around 2.5
Injection # | Initial sample vol (µL) | Cumulative vol. (µL) of denaturant injected | Cumulative total vol. (µL) in well | Denaturant conc. (M) with no evap. Correction | Injection vol. (µL) | Denaturant conc. (µM) step increase | Measurement time (s) | Cumulative total vol. (µL) in well with evap. correction | Denaturant conc. (M) with evap. correction | Pump to use | Pump injection speed
0 | 50 | 0 | 50 | 0 | 0
1 | 50 | 3 | 53 | 0.22845 | 3 | 0.22845 | 990 | 50.9891 | 0.23746 | Pump 1 | 430 µL/s
2 | 50 | 6 | 56 | 0.43243 | 3 | 0.20398 | 1980 | 51.9781 | 0.46589 | Pump 1 | 430 µL/s |  |  | Cells where most common
3 | 50 | 9 | 59 | 0.61566 | 3 | 0.18323 | 2970 | 52.9672 | 0.68578 | Pump 1 | 430 µL/s |  |  | variables should be entered
4 | 50 | 12 | 62 | 0.78116 | 3 | 0.1655 | 3960 | 53.9562 | 0.89762 | Pump 1 | 430 µL/s
5 | 50 | 15 | 65 | 0.93138 | 3 | 0.15022 | 4950 | 54.9453 | 1.1018 | Pump 1 | 430 µL/s
6 | 50 | 18 | 68 | 1.0684 | 3 | 0.13697 | 5940 | 55.9344 | 1.2988 | Pump 1 | 430 µL/s
7 | 50 | 21 | 71 | 1.1937 | 3 | 0.12539 | 6930 | 56.9234 | 1.4889 | Pump 1 | 430 µL/s
8 | 50 | 24 | 74 | 1.309 | 3 | 0.11523 | 7920 | 57.9125 | 1.6726 | Pump 1 | 430 µL/s
9 | 50 | 27 | 77 | 1.4152 | 3 | 0.10625 | 8910 | 58.9016 | 1.8501 | Pump 1 | 430 µL/s
10 | 50 | 30 | 80 | 1.5135 | 3 | 0.098279 | 9900 | 59.8906 | 2.0217 | Pump 1 | 430 µL/s
11 | 50 | 34 | 84 | 1.6336 | 4 | 0.12012 | 10890 | 61.8797 | 2.2176 | Pump 1 | 400 µL/s
12 | 50 | 38 | 88 | 1.7428 | 4 | 0.1092 | 11880 | 63.8687 | 2.4013 | Pump 1 | 400 µL/s
13 | 50 | 42 | 92 | 1.8425 | 4 | 0.099704 | 12870 | 65.8578 | 2.5739 | Pump 1 | 400 µL/s
14 | 50 | 47 | 97 | 1.9556 | 5 | 0.11307 | 13860 | 68.8469 | 2.7553 | Pump 1 | 350 µL/s
15 | 50 | 50 | 100 | 2.0769 | 3 | 0.12133 | 14850 | 69.8359 | 2.974 | Pump 2 | 430 µL/s
16 | 50 | 53 | 103 | 2.1912 | 3 | 0.11426 | 15840 | 70.825 | 3.1866 | Pump 2 | 430 µL/s
17 | 50 | 56 | 106 | 2.299 | 3 | 0.1078 | 16830 | 71.8141 | 3.3934 | Pump 2 | 430 µL/s
18 | 50 | 59 | 109 | 2.4008 | 3 | 0.10186 | 17820 | 72.8031 | 3.5945 | Pump 2 | 430 µL/s
19 | 50 | 63 | 113 | 2.5282 | 4 | 0.1274 | 18810 | 74.7922 | 3.8198 | Pump 2 | 400 µL/s
20 | 50 | 67 | 117 | 2.6469 | 4 | 0.11869 | 19800 | 76.7812 | 4.0334 | Pump 2 | 400 µL/s
21 | 50 | 71 | 121 | 2.7578 | 4 | 0.11084 | 20790 | 78.7703 | 4.2363 | Pump 2 | 400 µL/s
22 | 50 | 75 | 125 | 2.8615 | 4 | 0.10375 | 21780 | 80.7594 | 4.4291 | Pump 2 | 400 µL/s
23 | 50 | 80 | 130 | 2.9822 | 5 | 0.12071 | 22770 | 83.7484 | 4.6292 | Pump 2 | 350 µL/s
24 | 50 | 85 | 135 | 3.094 | 5 | 0.11177 | 23760 | 86.7375 | 4.8156 | Pump 2 | 350 µL/s
25 | 50 | 91 | 141 | 3.2177 | 6 | 0.12366 | 24750 | 90.7266 | 5.0007 | Pump 2 | 300 µL/s
26 | 50 | 97 | 147 | 3.3312 | 6 | 0.11356 | 25740 | 94.7156 | 5.1701 | Pump 2 | 300 µL/s
27 | 50 | 104 | 154 | 3.4525 | 7 | 0.12131 | 26730 | 99.7047 | 5.3327 | Pump 2 | 260 µL/s
28 | 50 | 111 | 161 | 3.5633 | 7 | 0.11076 | 27720 | 104.6937 | 5.4797 | Pump 2 | 260 µL/s
[5 empty] | Avg. step resolution | 0.12726
Note on B9: This is the injection number for the total method, typically a BMG plate readerallows a maximum of 4 injections per protoocl and 6 of these are run backto back to achieve 24 injections.
Note on C9: This is the initial volume of the sample protein that is pipetted in the well before injections begin. This is always 50 μL for our method. However, for the last tab in this template, we artificially include guanidine in the initial sample so that the initial concentration is greater than zero. Note the initial volume of the sample is still 50 μL and the extra guanidine is already added to the sample.
Note on D9: This is the total amount of denturant in the well at the end of the given injection step. This will be used to calculate the denaturant concentration at the end of the given injection step in Column F.
Note on E9: This is the total volume of all liquids in the well at the end of the given injection step. This will be used to calculate the denaturant concentration at the end of the given injection step in Column F.
Note on F9: This is the denaturant concentration at the end of the given injection step calculated using Columns D and E and does not take into account the loss of water from the well due to evaporation.
Note on G9: This is the injection volume from either pump 1 or pump and can be adjusted to change the increases in denaturant concentration through the whole method. Immediately after all wells receive their injections there is a 20 second shake and protein is left to equilibrate for about 15 minutes for our proteins.
Note on H9: This is the increase in denaturant concentration due to the current injection of denaturant at this step, we aim to have most resolution during the transition period of denturation, although are limited by the minimum volume of 3 µL and the concentrations of denaturant stock in the 2 pumps.
Note on I9: This is the time the fluorescence emission measurements are made after the given injection.
Note on J9: This is the total volume of all liquids in the well at the end of the given injection step that takes into account the loss of water from the well due to evaporation.
Note on K9: This is the denaturant concentration at the end of the given injection step calculated using Columns D, E and the chosen evaporation rate that takes into account the loss of water from the well due to evaporation.
Note on L9: This is the pump that currently injects sample. The concentrations of denaturant have been chosen to achieve good resolution through the unfolding and can be found in cells C6 and E6.
Note on M9: This is the pump injection speed and is designed to be faster for small volumes to maximize mixing in the well and slightly slower for large volumes to avoid splashing out of the well. A simple quick test into an empty disposable plate is recommended to check all volume/speed combinations deliver denaturant into the center of the well.
Note on G39: This is the average increase in denaturant concentration an injection of denaturant over all injections.

## Inject from 1M to 5.4M
Global Evaporation Rate (µL/s) |  | Avg. initial vol. of internal evap. controls (µL) | Avg. final vol. of internal evap. controls (µL) | Vol. evaporated during expt. (µL) | Number of protocol for complete method | Number of injections per protocol | Total time of experiment (s) | Internal Evaporation Rate (µL/s) |  | Chosen Evaporation Rate (µL/s) |  | Refractive index of buffer | Refractive index of Guan. + buffer | Concentration of Guan. in buffer (M) | Refractive index of buffer | Refractive index of Urea + buffer | Concentration of Urea in buffer (M)
0.0020313 |  | 187 | 138 | 49 | 6 | 4 | 23760 | 0.0020623 |  | 0.0020313 |  | 1.337 | 1.437 | 6.0099 |  |  | 0
[14 empty] | 0 |  |  | 0
Conc. Denaturant (M) in Pump 1 | Conc. Denaturant (M) in Pump 2 |  | Starting Guan | Vol. of Pump 1 Denat. for 50 µL sample |  | Time for each Protocol | Hour | Minute | Second | Time for Injection (s)
6.01 | 8 |  | 1 | 8.3195 |  |  | 1 | 6 | 0 | 990
X-Y M Protocol. Starting conc can be determined by changing value in E6 and is thus not restricted to starting at 0M.
Injection # | Theorectical initial sample vol (µL) | Cumulative vol. (µL) of denaturant injected | Cumulative total vol. (µL) in well | Denaturant conc. (M) with no evap. Correction | Injection vol. (µL) | Denaturant conc. (µM) step increase | Measurement time (s) | Cumulative total vol. (µL) in well with evap. correction | Denaturant conc. (M) with evap. correction | Pump to use | Pump injection speed
None | 41.6805 | 8.3195 | 50 | 1 | 0
1 | 41.6805 | 11.3195 | 53 | 1.2836 | 3 | 0.28358 | 6 | 53 | 1.2836 | Pump1 | 430 µL/s
2 | 41.6805 | 14.3195 | 56 | 1.5368 | 3 | 0.2532 | 12 | 56 | 1.5368 | Pump1 | 430 µL/s |  |  | Cells where most common
3 | 41.6805 | 18.3195 | 60 | 1.835 | 4 | 0.29821 | 18 | 60 | 1.835 | Pump1 | 400 µL/s |  |  | variables should be entered
4 | 41.6805 | 22.3195 | 64 | 2.0959 | 4 | 0.26094 | 24 | 64 | 2.0959 | Pump1 | 400 µL/s
5 | 41.6805 | 26.3195 | 68 | 2.3262 | 4 | 0.23024 | 30 | 68 | 2.3262 | Pump1 | 400 µL/s
6 | 41.6805 | 31.3195 | 73 | 2.5785 | 5 | 0.25232 | 36 | 73 | 2.5785 | Pump1 | 350 µL/s
7 | 41.6805 | 36.3195 | 78 | 2.7985 | 5 | 0.21997 | 42 | 78 | 2.7985 | Pump1 | 350 µL/s
8 | 41.6805 | 42.3195 | 84 | 3.0279 | 6 | 0.2294 | 48 | 84 | 3.0279 | Pump1 | 300 µL/s
9 | 41.6805 | 48.3195 | 90 | 3.2267 | 6 | 0.19881 | 54 | 90 | 3.2267 | Pump1 | 300 µL/s
10 | 41.6805 | 55.3195 | 97 | 3.4275 | 7 | 0.20086 | 60 | 97 | 3.4275 | Pump1 | 260 µL/s
11 | 41.6805 | 63.3195 | 105 | 3.6243 | 8 | 0.19676 | 66 | 105 | 3.6243 | Pump1 | 220 µL/s
12 | 41.6805 | 72.3195 | 114 | 3.8126 | 9 | 0.18835 | 72 | 114 | 3.8126 | Pump1 | 190 µL/s
13 | 41.6805 | 76.3195 | 118 | 3.9546 | 4 | 0.14194 | 78 | 118 | 3.9546 | Pump2 | 400 µL/s
14 | 41.6805 | 80.3195 | 122 | 4.0872 | 4 | 0.13264 | 84 | 122 | 4.0872 | Pump2 | 400 µL/s
15 | 41.6805 | 84.3195 | 126 | 4.2114 | 4 | 0.12422 | 90 | 126 | 4.2114 | Pump2 | 400 µL/s
16 | 41.6805 | 89.3195 | 131 | 4.356 | 5 | 0.1446 | 96 | 131 | 4.356 | Pump2 | 350 µL/s
17 | 41.6805 | 94.3195 | 136 | 4.49 | 5 | 0.13397 | 102 | 136 | 4.49 | Pump2 | 350 µL/s
18 | 41.6805 | 99.3195 | 141 | 4.6145 | 5 | 0.12447 | 108 | 141 | 4.6145 | Pump2 | 350 µL/s
19 | 41.6805 | 105.3195 | 147 | 4.7527 | 6 | 0.13818 | 114 | 147 | 4.7527 | Pump2 | 300 µL/s
20 | 41.6805 | 112.3195 | 154 | 4.9003 | 7 | 0.14761 | 120 | 154 | 4.9003 | Pump2 | 260 µL/s
21 | 41.6805 | 119.3195 | 161 | 5.035 | 7 | 0.13477 | 126 | 161 | 5.035 | Pump2 | 260 µL/s
22 | 41.6805 | 127.3195 | 169 | 5.1754 | 8 | 0.14035 | 132 | 169 | 5.1754 | Pump2 | 220 µL/s
23 | 41.6805 | 135.3195 | 177 | 5.3031 | 8 | 0.12767 | 138 | 177 | 5.3031 | Pump2 | 220 µL/s
24 | 41.6805 | 145.3195 | 187 | 5.4473 | 10 | 0.14422 | 144 | 187 | 5.4473 | Pump2 | 170 µL/s
[5 empty] | Avg. step resolution | 0.1853
Note on B9: This is the injection number for the total method, typically a BMG plate readerallows a maximum of 4 injections per protoocl and 6 of these are run backto back to achieve 24 injections.
Note on C9: This is the initial volume of the sample protein that is pipetted in the well before injections begin. This is always 50 μL for our method. However, for the last tab in this template, we artificially include guanidine in the initial sample so that the initial concentration is greater than zero. Note the initial volume of the sample is still 50 μL and the extra guanidine is already added to the sample.
Note on D9: This is the total amount of denturant in the well at the end of the given injection step. This will be used to calculate the denaturant concentration at the end of the given injection step in Column F.
Note on E9: This is the total volume of all liquids in the well at the end of the given injection step. This will be used to calculate the denaturant concentration at the end of the given injection step in Column F.
Note on F9: This is the denaturant concentration at the end of the given injection step calculated using Columns D and E and does not take into account the loss of water from the well due to evaporation.
Note on G9: This is the injection volume from either pump 1 or pump and can be adjusted to change the increases in denaturant concentration through the whole method. Immediately after all wells receive their injections there is a 20 second shake and protein is left to equilibrate for about 15 minutes for our proteins.
Note on H9: This is the increase in denaturant concentration due to the current injection of denaturant at this step, we aim to have most resolution during the transition period of denturation, although are limited by the minimum volume of 3 µL and the concentrations of denaturant stock in the 2 pumps.
Note on I9: This is the time the fluorescence emission measurements are made after the given injection.
Note on J9: This is the total volume of all liquids in the well at the end of the given injection step that takes into account the loss of water from the well due to evaporation.
Note on K9: This is the denaturant concentration at the end of the given injection step calculated using Columns D, E and the chosen evaporation rate that takes into account the loss of water from the well due to evaporation.
Note on L9: This is the pump that currently injects sample. The concentrations of denaturant have been chosen to achieve good resolution through the unfolding and can be found in cells C6 and E6.
Note on M9: This is the pump injection speed and is designed to be faster for small volumes to maximize mixing in the well and slightly slower for large volumes to avoid splashing out of the well. A simple quick test into an empty disposable plate is recommended to check all volume/speed combinations deliver denaturant into the center of the well.
Note on G35: This is the average increase in denaturant concentration an injection of denaturant over all injections.