## RES0207
Soil Test Results
Report For: | Ian Godwin | [19 empty] | Soil Testing Laboratory
| USDA Delta Water Management Research Unit | [19 empty] | University of Missouri
| 504 University Loop | [19 empty] | 23 Mumford Hall
| Jonesboro, AR 72401 | [19 empty] | Columbia, MO. 65211
2019-08-06
Lab | Sample |  | N.A. | O.M. | Bray I P | Ca | Mg | K | CEC | Na | SO4-S | ZN | FE | MN | CU | NO3-N | NH4-N | B | Total P | As | Cd | Co | Cr | Mo | Ni | Pb | Se
Number | Identification | pHs | meq/100g | % | lb/Ac | lb/Ac | lb/Ac | lb/Ac | meq/100 g | lb/A | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg
C1910629 | W3-3 | 7.5 | 0 | 0 | 23 | 1789 | 76 | 94 | 4.9 | 61 | 1.4 | 0.2 | 4.7 | 2 | 0.28 | 0.9 | 0.6 | 0.43 | 105.718 | 4.0137 | 0.18564 | 2.2749 | 2.1493 | 0.061102 | 6.108 | 6.5528 | 0.01797
C1910630 | W2-6 | 6.7 | 0 | 0 | 35 | 1028 | 176 | 61 | 3.4 | 80 | 1.1 | 0.2 | 10.6 | 4.7 | 0.19 | 0.9 | 0.58 | 0.37 | 128.93 | 2.6662 | 0.19646 | 2.2981 | 3.538 | 0.037987 | 9.5583 | 6.63 | 0.1519
C1910631 | W2-7 | 6.6 | 0 | 0.2 | 42 | 1102 | 202 | 64 | 3.7 | 82 | 1.2 | 0.3 | 12.7 | 5.6 | 0.22 | 1 | 2.11 | 0.37 | 179.902 | 2.5245 | 0.18679 | 2.3994 | 3.6026 | 0.23347 | 8.1331 | 6.32 | 0.011568
C1910632 | HB 2-3 | 6.1 | 0.5 | 0.3 | 16 | 1533 | 428 | 67 | 6.2 | 321 | 1.3 | 0.2 | 10.1 | 18.7 | 0.25 | 6.7 | 0.39 | 0.35
C1910633 | HB 2-4 | 5.8 | 0.5 | 0.3 | 21 | 1192 | 342 | 59 | 5 | 274 | 1.8 | 0.2 | 10.2 | 20.9 | 0.24 | 8.8 | 0.58 | 0.47
C1910634 | HT 1-4 | 4.5 | 1 | 0.1 | 32 | 446 | 203 | 61 | 3 | 58 | 1.7 | 0.8 | 19.3 | 7.8 | 0.37 | 0.6 | 0.38 | 0.29
C1910635 | HT 2-5 | 4.8 | 1 | 0.1 | 25 | 706 | 213 | 129 | 3.8 | 116 | 1.4 | 0.2 | 20.1 | 9.3 | 0.37 | 0.8 | 0.38 | 0.41